eL pASO ELECTRIC COMPANY’S

MILITARY BASE Standard Offer Program

Revised May 14, 2004

- Table of Contents

1.	Introduction	3

2.	Background	3

3.	Program Goals	3

4.	Standard Offer Programs	4

5.	Program Description	4

5.1.	Project Sponsor Requirements	5

5.2.	Eligible Energy Efficiency Projects and Measures	6

5.3.	Efficiency Standards	8

5.4.	Energy Savings Measurement Options	9

6.	Program Incentives	10

6.1.	Incentive Rates	10

6.2.	Project Funding Limits	12

6.3.	Payment Procedures	12

7.	Program Timeline	13

8.	Initial Application	14

8.1.	Required Information	14

8.2.	Letters of Intent	15

8.3.	Review of Initial Applications	15

8.4.	Minimum Project Size	16

9.	Final Application	16

9.1.	Pre-Installation Inspection	17

9.2.	Required Agreements	17

10.	Other Program Information	18

10.1.	Reimbursement of Expenses	18

10.2.	Confidentiality	18

10.3.	Program Contact	18

11.	Reporting and Payment Procedures	18

11.1.	Installation Report	18

11.2.	Post-Installation Inspection	19

11.3.	Measurement and Verification (M&V)	19

11.4.	Installation Payment	20

11.5.	Savings Report and Final Payment	20

Appendix A - GLOSSARY	a-1

Introduction

The El Paso Electric (EPE) Military Base Standard Offer Program (SOP) pays incentives to project sponsors for the installation of measures that save energy and peak-period electricity demand. Incentives are based on verified demand and energy savings that occur at Fort Bliss U.S. Army Air Defense Artillery Center, El Paso TX (Ft. Bliss) as a result of the project.

To participate in the SOP, project sponsors undergo an application process and then enter a standard contract with El Paso Electric.  Under the contract, the Sponsor agrees to deliver demand and energy savings to Ft. Bliss via the installation of eligible energy efficiency measures at that customer’s site. To receive incentive payments, the project sponsor must demonstrate the demand and energy savings delivered by the installed equipment by performing either deemed, simplified, or comprehensive measurement and verification (M&V) activities.

EPE’s approval of a project application, or the execution of a standard offer agreement between EPE and a project sponsor in no way obligates Ft. Bliss to commit to the installation or implementation of any project. Each project sponsor must negotiate a separate agreement with Ft. Bliss for the actual installation of energy efficiency measures.

This Manual is supplemented by several additional documents which are available for download from the web site.  These additional documents cover installation standards, deemed savings values, and measurement and verification procedures for a wide range of energy efficiency measures.  All program information, including application materials, will be available via the Internet at the El Paso Electric program website, www.epelectricefficiency.com, which users can also access via a link from EPE’s primary website, www.epelectric.com. EPE will accept online applications starting Thursday, May 13, at 10:00 am Mountain Daylight Time (MDT).

# Background

In 2003, the Texas Legislature passed Senate Bill 652 (SB 652), a provision of which calls for investor-owned utilities in areas not subject to retail competition to make funds available to reduce electric energy consumption by 5% at qualifying military bases.  The deadline for achieving this energy efficiency goal is 1/1/2005.  The official enrolled text of this legislation is available at www.capitol.state.tx.us/tlo/78R/billtext/SB00652F.HTM.

In March, 2004, the Public Utility Commission of Texas (PUCT) approved Substantive Rule §25.185, which implements the energy efficiency goal of SB 652.  Incorporated in this rule is a Military Bases Standard Offer Program Template.  More information on this rulemaking project and a copy of Subst. Rule §25.185, are available at http://www.puc.state.tx.us/rules/rulemake/28715/28715.cfm.  In developing this SOP, EPE closely followed the approved template.

# Program Goals

The main goal of the SOP is to reduce annual electricity consumption at Ft. Bliss by 5%, or approximately 7,370,000 kWh.  Depending upon the nature of the energy efficiency projects implemented, this reduction in annual consumption will also reduce summer peak demand by approximately 1700 kW.  In addition to this energy efficiency goal, there are secondary program goals that are reflected in the program rules and procedures.  These secondary program goals include:

- Encourage private sector delivery of energy efficiency products and services

- Acquire cost-effective energy efficiency resources

- Reduce Ft. Bliss’ operating costs

- Minimize the burden of M&V requirements for the program by offering deemed or simple savings calculations for many measures where possible.

# Standard Offer Programs

In a standard offer program, project sponsors propose to deliver certain levels of annual energy savings (measured in kilowatt-hours or kWh) and peak demand savings (measured in kilowatts, or kW).  EPE will pay a fixed (“standard offer”) price to project sponsors for each kW and kWh of savings.  All payments to project sponsors will be based solely on kW and kWh savings.  In a standard offer program, project sponsors may install any combination or quantity of eligible measures and receive up to the maximum incentive value in the project sponsor’s agreement with EPE.  Eligible measures are outlined later in this Manual, but generally include any long-lasting, permanently-installed equipment or building shell improvement that exceeds applicable local, state or federal minimum efficiency standards, and that will result in electric energy savings for a minimum of ten years.  Project sponsors may choose to measure actual energy savings directly, or may utilize estimated, or “deemed savings.”  There are PUCT-approved deemed savings values for most of the common measures installed in commercial and residential applications. (See the appendices for a complete list.)

The program is open to participation by a wide range of potential project sponsors, including contractors, energy service companies, manufacturers, and other organizations.  The PUCT has issued a wide range of rules and requirements for the Military Bases Standard Offer Program.  The purpose of this manual is to identify and explain these program requirements, and act as a reference for project sponsors.

# Program Description

El Paso Electric has designed the Military Base Standard Offer Program to encourage electric energy efficiency improvements that go above and beyond the efficiency gains typically achieved in replacement-on-burnout projects.  Consequently, energy savings credits for such measures will be based on the energy savings that exceed current local, state or federal minimum efficiency standards, if such standards apply.  In cases where standards do not exist, and on early replacement or retrofit of existing equipment, demand and energy savings may be based on efficiency improvements relative to typical efficiencies in like circumstances (subject to other limitations as specified herein).

Example:

For a project sponsor installing a new central air conditioner, the savings (and incentives) are based on the difference between a high-efficiency unit, e.g., 13 SEER, and a “baseline” unit with a 10 SEER, even though the fifteen-year old unit being replaced has an SEER of 7.5.  In this example, the baseline is the current federal standard, not the efficiency of the existing unit.  The actual energy savings will likely be substantially higher than the “deemed savings” estimate.

For a definition of “baseline” and other terms used in this Manual, please consult the Glossary, included as Appendix A.

## Project Sponsor Requirements

A project sponsor is any organization, group, or individual who contracts with EPE to provide energy savings under the Military Base SOP.  The following types of organizations are eligible to participate as project sponsors:

- Energy service companies (ESCOs)

- Local contractors

- Architecture/engineering firms

- Renewable energy project developers

- National or local companies that provide energy-related products (e.g., lighting or HVAC)

As with other commercial/industrial standard offer programs being implemented in the State, the customer, i.e., Ft. Bliss, has the option of acting as its own project sponsor.

No SOP agreement between EPE and any third-party project sponsor will obligate Ft. Bliss to implement an energy efficiency project.  Potential project sponsors will need to pursue separate arrangements with Ft. Bliss for the installation of energy efficiency measures.  A letter of intent with Ft. Bliss is a prerequisite for third-party project sponsors.

Entering into an agreement with EPE as a project sponsor does not imply EPE’s endorsement or approval of any company, product, or service.

Project sponsors in the SOP must meet minimum eligibility criteria, comply with all SOP rules and procedures, submit Initial and Final Project Application forms, and execute EPE’s SOP Agreement.  EPE requires project sponsors to demonstrate their qualifications as part of the application process to help ensure that the proposed projects will be successful in delivering the estimated energy savings.  Specifically, project sponsors are required to provide the following:

- Evidence of good credit rating

- List of references

- All applicable licenses required under state law and local building codes

- Evidence of all building permits required by governing jurisdictions

- Evidence of all necessary insurance

## Eligible Energy Efficiency Projects and Measures

Any PUCT-approved measure included in any of the statewide SOP templates, or any measure assigned a deemed savings value by the PUCT is eligible under EPE’s SOP.  Table 1 provides examples of eligible and ineligible measures.

Table 1: Examples of Eligible and Ineligible Measures and Projects

| Eligible Measures or Projects | Ineligible Measures or Projects |
| --- | --- |
| Commercial Cooling and Ventilation Installation of high-efficiency chillers or packaged cooling units. Air-side and water-side economizer Fan and pump motor efficiency upgrades Constant air volume (CAV) to variable air volume (VAV) conversion Fan and pump variable speed drive (VSD) installations - Commercial / Industrial Lighting High-efficiency fluorescent lighting that replaces less efficient lighting Lighting controls to reduce operating hours. Compact fluorescent lamps (CFLs) with hard-wired ballasts or permanent disks Traffic signal LED conversions LED exit sign retrofits Installation of premium-efficiency lighting in new construction projects Refrigeration Refrigeration case doors Energy-efficient refrigerators Commercial refrigeration efficiency (multiplexing compressors and other refrigeration efficiency measures) - Industrial Process Motor-efficiency upgrades Variable speed drive installations on industrial fans and pumps | Measures with an expected life of less than 10 years CFLs without hard-wired ballasts or permanent disks (anti-theft locking devices utilizing a key-removable insert are not eligible) Cogeneration and self-generation projects, except renewable technologies Electric equipment with secondary power source (e.g., electric chiller with independent gas generator). Showerheads and aerators Fuel switching to electric Load reductions caused by building vacancies, decreased production, or other changes in occupant characteristics or behavior Measures that decrease building plug loads, such as “Green Plugs” or computer inactivity time-out controls Energy-efficient gas-only measures New construction or expansion projects in facilities that do not comply with the International Energy Conservation Code Repair and maintenance projects Measures that rely solely on customer behavior or require no capital investment |

Project sponsors may propose innovative or non-traditional energy-efficiency measures.  Equipment in all end uses (e.g. lighting, refrigeration, cooling, and heating) is eligible for the SOP.  Proposed energy efficiency measures must meet the following requirements:

- Measure must produce a measurable and verifiable reduction in either purchased electric energy, measured in kWh, or peak demand, measured in kW, or both. (Note: while it is not a requirement that each individual measure save annual energy and summer peak demand, the project sponsor’s project must save both.)

- Measure must produce savings through an increase in energy efficiency or a substitution of electricity by another energy source (provided the substitution results in overall lower energy costs, lower energy consumption, and the installation of high efficiency equipment).

- Renewable energy measures meeting the requirements of the PUCT’s Energy Efficiency Rule (Substantive Rule 25.181) may qualify for an incentive.

- Measure must have a minimum useful life of 10 years.

- Measure must meet or exceed minimum local, state or federal or other efficiency standards as provided in the program manual.

If the project sponsor proposes measures for which deemed savings values have not been approved by the PUCT, then the project sponsor must follow either the International Performance Measurement and Verification Protocol (IPMVP) or the Simplified M&V for Commercial and Industrial Lighting Retrofits, adopted by the Commission.  The IPMVP protocols may be downloaded from www.ipmvp.org.  The simplified M&V documents may be downloaded from the www.epelectricefficiency.com.

Project incentives will be paid only for energy and demand savings directly related to end-use equipment installed under the project.  Savings due to interactive effects between lighting measures and space-cooling equipment (in cases where lighting measures have been installed in a cooled space) will be eligible for payment based on a stipulated value only.  Interactive effects between other end-use equipment will not be eligible for program incentive payments.

If any of the baseline equipment at a project site has been removed prior to the execution of the SOP Agreement, or if any of the proposed energy-efficient measures has been installed prior to the execution of the SOP Agreement, the project, or the affected portions thereof, will be disallowed.

EPE will be the final authority on whether any particular measure is eligible for incentives.

## Efficiency Standards

EPE has designed the Military Base SOP to encourage electric energy-efficiency improvements that go above and beyond the efficiency gains typically achieved in retrofit or replacement projects.  Consequently, energy and demand savings credit will be based only on reductions that exceed current industry accepted minimum efficiency standards, where applicable.  The minimum baseline equipment efficiencies are derived from the standards listed in the following table.

Table 2: Baseline equipment efficiency standards for retrofit measures

| Equipment Type | Applicable Standard |
| --- | --- |
| Cooling Equipment | ASHRAE 90.1 1989 (baseline for retrofit) ASHRAE 90.1 1999 (baseline for new construction) |
| Lighting | Standard Lighting Wattage Table (based on 1992 EPACT) |
| Motors | ASHRAE 90.1m-1995 |

Minimum equipment baseline efficiency tables are included in the deemed savings and installation standards documents, which are available for download from the web site.  Additional information can also be obtained from ASHRAE (www.ashrae.com).

For new construction projects, the SOP requires the installation of equipment that is more efficient than is specified by code.  The applicable baseline standard for all new construction measures is ASHRAE/IESNA Standard 90.1-1999.  Energy and demand savings for new construction measures are based on efficiency improvements beyond the minimum efficiency required by code.

## Energy Savings Measurement Options

All payments to project sponsors are based on the project’s peak demand (kW) and annual energy (kWh) savings.  Project sponsors have three options for estimating the demand and energy savings of the measures they install.

- Deemed Savings.  Uses pre-determined average kW and kWh savings for each measure.  The project sponsor is not required to perform any measurement or verification of energy savings.  100% of incentive payment is paid as soon as installation inspections are completed, normally within 45 days of submitting an implementation report and invoice.  This is the recommended option for virtually all residential projects, and any project composed of measures for which deemed savings values have been established.  All of the common residential retrofit measures have approved deemed savings values.  A listing of all the deemed savings values is included as a separate document.

- Simplified M&V.  This method is commonly used for lighting retrofits in typical commercial applications.  Project sponsors use a comprehensive wattage table to estimate wattage savings per fixture and typical operating schedules for various types of facilities. Small commercial project sponsors should use this approach whenever possible, as it eliminates the requirement that project sponsor perform any M&V, and provides for 100% of the incentive payment to be made as soon as an implementation report is submitted and installation inspections are performed.  Additional information on simplified M&V procedures may be downloaded from the Program Web site.

- Measured Savings.  With this option, actual measurements and analysis are relied upon to calculate energy savings.  There are specific measurement and verification procedures, which are based on the International Performance Measurement and Verification Protocol (IPMVP).  This Protocol specifies how and what M&V procedures are to be used in calculating energy savings.  Project sponsors selecting this option must submit an M&V plan with their final project application.  All proposed M&V plans must be approved by EPE before any measures may be installed.  This option may provide more accurate savings measurements, but will likely increase the project sponsor’s implementation expenses.  In addition, if EPE, in its sole judgment, determines that its own administrative costs would be substantially increased as a result of a project sponsor’s proposed M&V plan, it has the option of charging the project sponsor for these incremental administrative costs.

# Program Incentives

Note that in all cases, payment procedures and amounts specified in the SOP Agreement supercede this and any other documents.

## Incentive Rates

The incentive rates for project implemented under this standard offer program are as follows:

|  | Residential/ Commercial | Hard-to-Reach |
| --- | --- | --- |
| kWh | $0.095 | $0.19 |
| kW | $278.29 | $556.58 |

The kWh payment is based on the annual energy savings, defined as the energy savings occurring during the one-year period immediately following installation.  The kW payment is based on the summer peak demand savings, defined as the maximum average load reduction occurring during any one-hour period between 1 PM and 7 PM MDT weekdays, from May 1 through September 30 (holidays excluded).

### Environmental Adder

In addition, since El Paso is in a non-attainment area for air emissions, certain projects may be eligible for a 20% incentive adder.  The environmental adder is available for targeted projects that would not be implemented without the adder.

### Hard-to-Reach Eligibility

Hard-to-reach customers are defined by PUCT Subst. R. §25.181 as customers with an annual household income at or below 200% of federal poverty guidelines.  The hard-to-reach income guidelines for 2004 are shown in the following table:

Hard-to-Reach Eligibility - 2004

| Size of Family Unit | 48 Contiguous States and D.C. | Monthly |
| --- | --- | --- |
| 1 | $18,620 | $1,552 |
| 2 | $24,980 | $2,082 |
| 3 | $31,340 | $2,612 |
| 4 | $37,700 | $3,142 |
| 5 | $44,060 | $3,672 |
| 6 | $50,420 | $4,202 |
| 7 | $56,780 | $4,732 |
| 8 | $63,140 | $5,262 |
| For each additional person, add | $6,360 | $530 |

A significant number of Ft. Bliss housing units serve the families who may qualify as hard-to-reach.  Monthly salaries for enlisted personnel range from $1,104 to $4,314.  EPE estimates that the majority of family housing for E-1 through E-3 grades is for hard-to-reach households and that many additional units for grades E-4 through E-6 are also hard-to-reach, with over 1,000 potential hard-to-reach units.  EPE will provide hard-to-reach incentives for measures installed in accordance with either the hard-to-reach template or the residential/small commercial template approved in PUCT Subst. R. §25.184.

Example1:

A local HVAC dealer installs 30 high-efficiency AC units as part of his project.  The units vary in size from 2.5 to 5 tons, and in SEER rating, from 13.0 to 16.0.

Using the deemed savings table for central air conditioners (page B-2), and adding up the deemed kW and kWh savings for each of the units installed, the total kW savings is 24.9, and the annual kWh savings is 42,750.  The incentive payment is calculated as follows:

(24.9 x $278.29) + (42,750 x $0.095) = $10,991

If the project qualifies for the 20% environmental adder, the incentive payment becomes:

(24.9 x $333.95) + (42,750 x $0.114) = $13,189

If the units are installed on housing units that serve hard-to-reach military personnel, the incentive payment (with the 20% adder) becomes:

(24.9 x $668.38) + (42,750 x $0.228) = $26,390

- Example 2

A variable-speed motor retrofit saves 20 kW of summer peak demand and 150,000 annual kWh.  The incentive payment for this project (without the environmental adder) would be:

(20 x $278.29) + (150,000 x $0.095) = $19,816

Note: Project sponsor payments may be adjusted based on inspection results as described elsewhere in this document and in the SOP Agreement.

## Project Funding Limits

The minimum project size is 20 kW of peak demand savings, or about 86,000 kWh, based on an average load factor.  A project of this size would generate approximately $14,000 in incentives.  The maximum size of a project is limited by the electricity consumption goal of 7,370,000 annual kWh.  Project sponsors may propose projects which provide up to 100% of energy savings goal.

A project sponsor may participate in multiple projects.  No project sponsor has unconditional entitlement to the SOP incentive funds.

## Payment Procedures

The procedure for paying incentives varies based on the measurement and verification (M&V) option that has been selected by the project sponsor.

### Deemed Savings or Simplified M&V Options

With the Deemed Savings or Simplified M&V options requiring no M&V, the project sponsor receives 100% of the incentive payment within 45 days after submitting an installation report and invoice, subject to EPE’s post-installation inspection results.

### Measured Savings Option

The measured savings option provides a mechanism of measurement and verification (M&V) where actual measurements and analyses are relied upon to calculate energy savings.  The project sponsor will receive an initial implementation payment that represents 40% of the total estimated incentive payment within 45 days after submitting an installation report and invoice, subject to EPE’s post-installation inspection results.

EPE will use the following formula to calculate the amount of the installation payment:

Installation Payment = [((estimated kW) * ($/kW incentive)) +
((estimated kWh) * ($/kWh incentive))] * 40%

The second payment (the “Performance Payment”) will be based on the annual kWh and peak kW savings that the project sponsor measures and documents in its M&V Report.  The performance payment may be up to 60% of the total estimated incentive included in the SOP Agreement, and will be calculated as follows:

Performance Payment = [((measured kW saved) * ($/kW incentive)) +
((measured kWh saved) * ($/kWh incentive))]
- Installation Payment

Under no circumstances will EPE make a total incentive payment (i.e., the sum of the Installation and Performance payments) that is more than 100% of the total estimated incentive payment specified in the SOP Agreement.  If the M&V Report indicates that the measured savings are less than the estimated savings, then the total incentive payment will be less than the payment estimated in the Agreement.  If the above formula results in a negative amount, the Project sponsor must refund that amount to EPE within 45 days of the submittal of the M&V Report.

# Program Timeline

The legislation mandating this program requires that the targeted military bases achieve the 5% electricity consumption goal by 1/1/2005.  The following implementation milestones are intended to allow for project implementation within the required timeframe.

| Event | Date(s) |
| --- | --- |
| Program release | April 26-27, 2004 |
| First day to submit initial applications | May 13, 2004 |
| Initial application approval | Within 10 days of initial application submittal |
| Final application due | Within 30 days of initial application acceptance |
| SOP agreement signed | Within 14 days of final application submittal |
| Project sponsor – Ft. Bliss agreement signed | Within 30 days of final application approval |
| Project installation | Begins upon agreement execution, ends no later than December 31, 2004 |
| Installation report due | No later than January 31, 2005 |
| M&V report (if required) due | Within 30 days of the end of the stipulated measurement period |

During the project installation period, project sponsors will be performing implementation activities, and reporting progress on a regular basis to EPE.  Installations should be completed by December 31, 2004, so that all implementation data can be reported to EPE no later than January 31, 2005.  Additional details on reporting requirements are included in Section 11.

Installation and equipment standards are available as separate documents.

# Initial Application

## Required Information

The initial application requires the following information:

- Identification of the project sponsor: contact name, address, federal tax ID number, phone number, fax number, e-mail address

- A brief statement of the project sponsor’s capabilities and experience (500 word maximum);

- Evidence of the project sponsor’s financial strength and capability.  This may include company description, trade references, and/or other information deemed appropriate by the project sponsor

- Evidence that project sponsor and any subcontractors possess all applicable licenses.  Evidence includes a list of applicable licenses, license holders, and license numbers;

- A description of the proposed set of energy-efficiency measures, demand and energy savings, and incentive payment estimate.  In order to provide the incentive payment estimate, the project sponsor will need to identify which measure which installations, if any, are to be performed at hard-to-reach (HTR) housing units, and which installations will qualify for the 20% environmental adder.

- A brief work plan presenting project design, M&V approach, implementation, and anticipated project timeline.  The plan should demonstrate the ability to meet program implementation milestone schedule outlined in the previous section

- Three client/customer references for projects similar in nature to that proposed in this application (include contact name, address, and phone number)

- Disclosure of any legal judgments pending, or entered in the previous two years, against project sponsor, as well as a current list of pending litigation filed against project sponsor.

- Letter of intent from Ft. Bliss

Except for the letter of intent, the above application information will be submitted via the www.epelectricefficiency.com web site, beginning May 13, at 10:00 am MDT.  The initial application pages of the web site will be available by May 5, 2004.  After that date, potential project sponsors will be able to register and begin inputting application data.  EPE will update its application web page at 10:00 am MDT on May 13 to activate a “submit button.”  Once this button is active, Project sponsors can submit their completed initial applications.  Please note, only one user per username can be logged into the database at a time during the application period.  EPE will utilize its mail server’s time stamp to determine the order of receipt.  Confirmation of the receipt of the initial application will be sent via return e-mail.  All applications received on the first day will be considered to have been received at the same time. Initial project applications will be considered on a first-come, first-served basis.  In the event multiple applications are received on the first day, EPE will review applications in order of probabality that each proposed project is likely to be installed by December 31, as determined by Ft. Bliss staff.

## Letters of Intent

The purpose of this requirement is to help ensure that projects proposed by potential project sponsors have a reasonable chance of being implemented during the program timeline.  The letter should include a summary description of the project and indication of Ft. Bliss’ level of interest in implementing the proposed project, should the project sponsor’s application be approved.

Letters of intent should be delivered within five days of Internet application submittal to:

Mr. John Armstrong

Principal Commercial Utilization Specialist

El Paso Electric Company

P.O. Box 982

El Paso, TX 79960

(915) 543-5809

(915) 521-4729 FAX

## Review of Initial Applications

EPE will review the initial application for both project sponsor and measure eligibility.  If a project sponsor’s initial application is accepted, EPE will reserve the incentive funds for the applicant.

EPE may reject an initial application if:

- The application is received after the application period has expired

- The project sponsor fails to meet program eligibility requirements;

- The project sponsor fails to respond to any request for additional information;

- The project sponsor is found to have made material misrepresentations in the application

- Changes occur in laws or regulations directly affecting this program

- EPE, in its sole judgment, determines that the project sponsor is incapable of fulfilling the terms and conditions of the program

If an application is found incomplete or insufficient, EPE may, at its sole discretion, reject it.

EPE may request clarification of, or additional information about, any item submitted as part of the initial application.  Project sponsors will have five days to respond to such requests.  If the clarification or additional information provided is not sufficiently responsive, EPE may, at its sole discretion, request additional information, or discontinue its evaluation of the submittal.  Any project sponsor submitting an unsuccessful initial application may reapply by submitting another initial application.  However, the project sponsor will lose its initial position in the order of submittal for incentive reservation purposes.

After the application information has been reviewed by EPE, the project sponsor will be notified of its project award status.

On the program’s web site, EPE will provide updates of the program’s status and the availability of incentive funds.  Initial applications will be reviewed until the cumulative projected annual energy savings from applications is sufficient to achieve the program’s energy savings goal.  After that, applications will be placed on a waiting list.

## Minimum Project Size

The minimum project size is 20kW of deemed or measured peak demand savings.  The maximum project size is determined by the program’s energy efficiency goal of 7,370,000 kWh.

# Final Application

Once notified of acceptance, the project sponsor develops a more detailed final application, which is submitted within 30 days of initial application acceptance.  The final application describes the proposed energy efficiency measure installations in detail, including estimated demand and energy savings, and estimated incentive payments based on engineering analysis and site audit.  The final application includes the following information:

- The existing and proposed retrofit equipment inventories, including equipment counts, applicable standard equipment efficiencies, and equipment nameplate data.

- Building occupancy and equipment operating schedules.

- Engineering calculations estimating energy and demand savings based on the efficiency of the proposed equipment compared to that of new, minimum-standard efficiency equipment.

- A proposed project-specific M&V plan describing how the project sponsor will measure and verify energy and demand savings, the methods for calculating actual savings, and a schedule for conducting and reporting on M&V activities.  In some cases, pre-installation M&V activities may be required to accurately estimate savings.

- Finalized work plan for project design, implementation, operation, and management, including the anticipated project timeline.  The plan should demonstrate the ability to meet the installation deadline of December 31, 2004.

As part of the final application review process, EPE will review the eligibility of the proposed measures, the accuracy of the savings estimates, and the comprehensiveness of the M&V plan. EPE may request clarification of or additional information about any item in the application. Project sponsors will have 5 days to respond to such requests.  If the clarification or additional information is not forthcoming, EPE may choose to discontinue its evaluation of the application.

EPE may shorten the 30-day time allowance to assure that all projects will be installed by December 31 and installation reports are submitted by the Jnauary 31, 2005 deadline.  Failure to submit the application on time may result in loss of reserved funding.  Project sponsors who do not meet the deadline for submitting a final application may again file an initial application for the same (or different) project, subject to availability of funds, the existence of a project waitlist, or ability of project to be completed by the installation deadline.

If incentive estimates in the final application differ from the incentive funds reserved in the initial application, the final application savings and incentive estimates will take precedence over the initial application, as the final application should include a more detailed and accurate estimate of demand and energy savings.  Where final application estimates are lower than those approved in the initial application, the reserved incentives will be adjusted down accordingly, and excess incentive funds returned to the remaining program incentive budget.

In some cases, final application savings and incentive estimates may be higher than approved in the initial application.  If all incentive funds have been reserved, and projects are waitlisted, the project will be limited to the funds reserved in the initial application.  A typical review cycle, including the inspection, for a final application is 14 days.

Notwithstanding the turnaround times estimated for each step in the application process, time is of the essence.  Project sponsors should make every effort to respond to request and submit required information within the shortest timeframe possible.

## Pre-Installation Inspection

In addition to the application review discussed above, EPE may conduct a baseline inspection of the project site at its own discretion as part of the final application review process.  The purpose of the inspection is to verify the baseline conditions documented in the application and the eligibility of the proposed measures.  The pre-installation inspection requires the presence of at least one project sponsor representative who is familiar with the project so that all parties can identify any discrepancies simultaneously.  The inspection will verify the following information:

- The accuracy of the baseline equipment survey.  For most measures the accuracy of the equipment quantity and nameplate information is verified.  For lighting measures, the requirement for acceptance is that the total projected energy savings of the sample of fixtures inspected must be within 5 % of the total projected energy savings of the same fixtures submitted on the survey form.

- The M&V plan is appropriate for the measure, and any necessary pre-installation M&V activities are being performed.

- All existing equipment listed in the final application is still in place and operational.

- New equipment installation, or old equipment removal, has not begun.

If electrical measurements are necessary, the project sponsor’s representative is required to perform any necessary disruptions in equipment operation, the opening of any electrical connection boxes, or the connection of current and power transducers.  If the proposed baseline conditions cannot be verified, the final application will be rejected.

## Required Agreements

Prior to the implementation of any project, the project sponsor will be required to execute two agreements, one with EPE, and one with Ft. Bliss.

### EPE – Project Sponsor Agreement

Once the project has passed the pre-installation inspection and the final application has been approved, EPE will forward a copy of the standard contract to the project sponsor. The terms of the contract will be standard for all project sponsors and are non-negotiable.  The contract will include the measures to be installed, estimates of demand and energy savings, a maximum incentive payment associated with the project, and the approved M&V approach.  The approved initial and final applications will become attachments to the contract.

### Project Sponsor – Ft. Bliss Agreement

Within 30 days of the execution of their contract with EPE, the project sponsor must provide EPE a copy of the project sponsor’s executed agreement with Ft. Bliss for the installation of the measures specified in the final application.

The agreements outlined in these sections are required before installing any measures.  If a copy of the project sponsor/Ft. Bliss agreement is not provided to EPE within the required timeframe, EPE may terminate its contract with the project sponsor and withdraw the incentive budget reservation for that project.

# Other Program Information

## Reimbursement of Expenses

EPE will not reimburse any project sponsor for any costs incurred by participating in the SOP, including costs of preparing the initial or final project applications, reviewing or executing related agreements, or preparing and submitting any of the required reports.

## Confidentiality

This program is subject to oversight by the PUCT, which may request a copy of any SOP-related  materials that EPE receives.  Sensitive information submitted by the project sponsor to EPE will be treated confidentially to the fullest extent possible, and will not be provided directly to outside parties other than the PUCT.  EPE will have no liability to any project sponsor or other party as a result of public disclosure of any submittals.

## Program Contact

The EPE contact person for this program is Mr. John Armstrong.  All program correspondence, reports, and any other required materials should be directed to Mr. Armstrong at:

El Paso Electric

P.O. Box 982

El Paso TX 79960

915.543.5809

jarmstro@epelectric.com

# Reporting and Payment Procedures

## Installation Report

Upon project installation, project sponsors must submit an installation report.  The installation report updates any information proposed in the final application that has now been finalized after completion of the project.  The installation report typically includes the following information:

- Updated information about the facilities/building included in the project, and updated project sponsor or Ft. Bliss contact information.

- The demolished and actual installed retrofit equipment inventories, including equipment counts, equipment efficiencies, and equipment nameplate data.

- Updates to building occupancy and equipment operating schedules.

- Updated engineering calculations estimating energy and demand savings based on the efficiency of the actual installed equipment compared to that of new, standard-efficiency equipment.

- A final project-specific M&V plan describing how the project sponsor will measure and verify energy and demand savings, the methods for calculating actual savings, and a schedule for conducting and reporting on M&V activities. (Not required for deemed savings-only projects.)

Project installation must be completed and an installation report must be submitted no later than the close of business January 31, 2005.  A typical review cycle for an installation report is 30 days.

## Post-Installation Inspection

EPE will contact the project sponsor and conduct a post-installation inspection of the project (s) after receipt of a complete installation report.  The post-installation inspection requires the presence of at least one project sponsor representative who is familiar with the project.  The inspection shall verify that:

- The equipment has been installed and is operating as described in the installation report. For most measures, the accuracy of the equipment quantity and nameplate information is verified. For lighting measures, the requirement for acceptance is that the total energy savings of the sample of retrofitted fixtures inspected must be within 5 % of the total projected energy savings of the same fixtures submitted on the installation report.

- The M&V plan is being followed in accordance with the approved final application.

If electrical measurements are necessary, the project sponsor’s representative is required to perform any necessary disruptions in equipment operation, the opening of any electrical connection boxes, or the connection of current and power transducers.  If the proposed baseline conditions cannot be verified, the corresponding installations will not be approved for payment.

## Measurement and Verification (M&V)

Project sponsors not using deemed savings are responsible for conducting all M&V activities for the project.  EPE will work with the project sponsor to identify M&V options appropriate to the specific project.  These M&V procedures should be consistent with the M&V plan that was submitted with the sponsor’s project application.

M&V procedures will vary in detail and rigor depending on the measures installed.  For each installed measure, the chosen procedures will depend upon the predictability of equipment operation, the availability of evaluation data from previous programs, and the benefits of the chosen M&V approach relative to its cost.  EPE has developed recommended M&V guidelines for several common measures.  These procedures may be classified according to three distinct approaches that represent increasing levels of detail and rigor:

- Deemed (or stipulated) savings: Savings values are stipulated based on engineering calculations using typical equipment characteristics and operating schedules developed for particular applications, without on-site testing or metering.  This approach is designed for use with, residential energy efficiency measures, most HVAC measures, and lighting efficiency and controls projects.

- Simple M&V: Savings values are based on engineering calculations using typical equipment characteristics and operating schedules developed for particular applications, with some short-term testing or simple long-term metering.  For example, chiller energy and demand savings can be determined using the simple approach by comparing rated efficiencies of high-efficiency equipment to standard equipment, and using kW spot-metering and simple long-term kWh metering.

- Full M&V: Savings are estimated using a more detailed method than in the deemed savings or simple M&V approaches through the application of metering, billing or regression analysis, or computer simulation.  These methods will need to be developed in accordance with the 2001 International Performance Measurement and Verification Protocol (IPMVP), which represents the starting point for standard industry practice.  More information about the IPMVP may by found on the Internet at http://www.ipmvp.org/.  An application of the IPMVP adapted for use with this program is presented as part of the program’s measurement and verification.

The time required to complete M&V activities will range from less than a month up to 12 months, depending on the types of measures installed--generally one year for HVAC or building envelope measures, with shorter measurement periods possible for non weather-dependent measures.

## Installation Payment

Upon receiving approval of the installation report, the project sponsor should submit an invoice for the first incentive payment - the installation payment.  If using simple or full M&V, this payment is 40% of the incentive estimate approved in the installation report.  For measures using deemed savings, 100% of the incentive payment will be payable after approval of the installation report.  The installation payment is made typically within 30 days following approval of the installation report.

## Savings Report and Performance Payment

If the project sponsor is using simple of full M&V, the project sponsor should submit a savings report after all M&V activities are complete.  This report should document the actual demand and energy savings measured for the projects.

After approval of the savings report, the project sponsor may submit an invoice for the performance payment.  This payment is based on the project’s measured savings minus the amount paid in the installation payment. The total of the incentive payments (installation payment plus performance payment) cannot exceed the incentive payment listed in the SOP agreement.  The performance payment is made typically within 30 days following approval of the savings report.

- Appendix A

Glossary

- Glossary

- A -

Affiliate: For purposes of the EPE Military Base Standard Offer Program, an Affiliate is:

(A)	a person who directly or indirectly owns or holds at least 5.0% of the voting securities of an energy efficiency service provider;

(B)	a person in a chain of successive ownership of at least 5.0% of the voting securities of an energy efficiency service provider;

(C)	a corporation that has at least 5.0% of its voting securities owned or controlled, directly or indirectly, by an energy efficiency service provider;

(D)	a corporation that has at least 5.0% of its voting securities owned or controlled, directly or indirectly, by:

(i)	a person who directly or indirectly owns or controls at least 5.0% of the voting securities of an energy efficiency service provider; or

(ii)	a person in a chain of successive ownership of at least 5.0% of the voting securities of an energy efficiency service provider; or

(E)	a person who is an officer or director of an energy efficiency service provider or of a corporation in a chain of successive ownership of at least 5.0% of the voting securities of an energy efficiency service provider;

(F)	a person who actually exercises substantial influence or control over the policies and actions of an energy efficiency service provider;

(G)	a person over which the energy efficiency service provider exercises the control described in subparagraph (F) of this paragraph;

(H)	a person who exercises common control over an energy efficiency service provider, where "exercising common control over an energy efficiency service provider" means having the power, either directly or indirectly, to direct or cause the direction of the management or policies of an energy efficiency service provider, without regard to whether that power is established through ownership or voting of securities or any other direct or indirect means; or

(I)	a person who, together with one or more persons with whom the person is related by ownership, marriage or blood relationship, or by action in concert, actually exercises substantial influence over the policies and actions of an energy efficiency service provider even though neither person may qualify as an affiliate individually.

- B -

- Baseline: For purposes of determining estimated and measured energy savings under the SOP, the baseline is generally defined as the energy consumed by equipment with efficiency levels that meet the applicable current federal standards and reflects current market conditions. In certain limited circumstances, the baseline may be determined by the equipment or conditions currently in place. This is likely to occur only when federal energy efficiency standards do not apply, or when the existing equipment can be shown by the project sponsor to have a remaining service life of at least ten years. For determining estimated and measured savings for building shell improvements, the baseline is generally determined by the building’s current condition, e.g., existing insulation r-values, air infiltration rates, etc.

- Budget Reservation: The amount of incentive funds EPE sets aside during the project implementation phase for a given project sponsor who has submitted a successful application prior to EPE’s complete commitment of funds through Budget Reservations to other project sponsors.

- C -

Contracted Capacity Savings: As defined in an SOP Agreement, the amount by which a project is expected to reduce peak demand consumption (measured in kW) at the host customer’s site(s).

Contracted Energy Savings: As defined in an SOP Agreement, the amount by which a project is expected to reduce energy consumption (measured in kWh) at the host customer’s site(s).

- D -

Deemed Savings: A pre-determined, validated estimate of energy and peak demand savings attributable to an energy efficiency measure in a particular type of application that a utility may use instead of energy and peak demand savings determined through measurement and verification activities.

Demand Savings: The maximum average load reduction occurring during any one-hour period between 1 PM and 7 PM MDT weekdays, from May 1 through September 30 (holidays excluded). The demand savings are measured against a predetermined baseline for deemed savings measures.

- E -

Energy-Efficiency Measures (EEM): Equipment, materials, and practices that when installed and used at a customer site result in a measurable and verifiable reduction in either purchased electric energy consumption, measured in kilowatt-hours (kWh), or peak demand, measured in kWs, or both.

Energy Efficiency Project: An energy efficiency measure or combination of measures installed under a standard offer contract or a market transformation contract that results in both a reduction in customers' electric energy consumption and peak demand, and energy costs.

Energy Efficiency Service Provider: A person who installs energy efficiency measures or performs other energy efficiency services. An energy efficiency service provider may be a retail electric provider or a customer, if the person has executed a SOP Agreement.

Energy Savings: A quantifiable reduction in a customer’s consumption of energy, or the amount by which energy consumption is reduced as a result of the installation of qualifying energy-efficient equipment. Energy savings are determined by comparing the efficiency of the installed equipment to that of new standard-efficiency equipmentnot to that of the customer’s existing equipment (except in cases where no standards currently exist).

Existing Equipment: The equipment that is installed at the host customer’s site prior to the customer’s participation in the SOP Program.

- H -

Hard-To-Reach Customers: Customers with an annual household income at or below 200% of the federal poverty guidelines, and who have properly completed a PUCT-approved income verification form.

Host Customer or Customer: A residential, small commercial distribution customer of EPE that owns or leases facilities at a Project Site or Sites and that has entered into a Host Customer Agreement with project sponsor, or is a customer acting as its own project sponsor, for the installation of Measures as a part of Project. "Host Customer" excludes all Project Sites that are new construction or major rehabilitation projects. For purposes of the Military Base SOP, Ft. Bliss is the sole eligible Host Customer.

- I -

Incentive Payment: Payments made to an Energy Efficiency Service Provider based on the level of approved demand and energy savings (expressed as kW and kWh). Incentive rates are based on Commission approved avoided costs and incentive caps.

Installation Payment: The first of two incentive payments made to a project sponsor. The implementation payment is for 40% of the total estimated incentive amount as specified in the SOP Agreement. A project sponsor may submit an invoice for this payment following EPE’s approval of the project sponsor’s installation report.

Inspection: Onsite examination of a project to verify that a measure has been installed and is capable of performing its intended function.

- M -

Measurement and Verification Plan: The project sponsor’s specific plan for verifying measured savings estimates. The measurement and verification (M&V) plan should be consistent with the International Performance Measurement and Verification Protocol.

Measured Capacity Savings:  The maximum average load reduction occurring during any one-hour period between 1 PM and 7 PM MDT weekdays, from May 1 through September 30 (holidays excluded), as determined in accordance with the project sponsor’s Measurement and Verification Plan.

Measured Energy Savings: The Energy Savings derived during a single year, from the Measures installed at the Project Site as determined in accordance with project sponsor’s Measurement and Verification Plan.

- P -

Peak Demand Savings: For purposes of the EPE Standard Offer Program, Peak Demand Savings is the maximum average load reduction occurring during any one-hour period between 1 PM and 7 PM MDT weekdays, from May 1 through September 30 (holidays excluded).

Peak Period: For the purposes of this program, the peak period is defined as the hours from 1 PM to 7 PM MDT weekdays, from May 1 through September 30 (holidays excluded).

Performance Period: The period following the approval of a project sponsor’s installation report, during which measurement and verification are to take place. Peak demand and energy savings measured over this period form the basis of the performance payment made to the project sponsor at the end of the year.

Performance Payment: The second of two incentive payments made to a project sponsor under the terms of an SOP Agreement. The performance payment is based on the one-year measured energy savings documented in EPE’s M&V Report and may be up to 60% of the total estimated incentive included in the SOP Agreement.

Post-Installation Inspection: An inspection of a project site or sites conducted by EPE after a project sponsor has submitted a monthly invoice. The purpose of the inspection is to verify that the energy-efficiency equipment specified in the SOP Agreement has been installed properly and is capable of performing its intended function. EPE’s approval of the invoice is contingent upon the results of the post-installation inspection.

Project: All the energy-efficient measures and any associated equipment and/or improvements that are installed, maintained and/or operated by the project sponsor to achieve the energy savings claimed for the project.

Project Application: The Project Application, comprising a set of standard forms, is submitted by an organization wanting to participate in the SOP Program as a project sponsor. On the Project Application, the project sponsor provides information about itself, the site at which the proposed project will be installed, and a general description of the proposed project.

Project Sponsor: Any organization, group, or individual who contracts with EPE to provide energy savings under the SOP Program.

Prudent Electrical Practices: Those practices, methods, standards, and equipment commonly used in prudent electrical engineering and operations to operate electrical equipment lawfully and with safety, dependability, and efficiency and in accordance with the National Electrical Safety Code, the National Electrical Code, and any other applicable federal, state and local codes. In the event of a conflict, the applicable federal, state, or local code shall govern.

- R -

Renewable Demand Side Management (DSM) Technologies: Equipment that uses a renewable energy resource that, when installed at a customer site, reduces the customer's net purchases of energy (kWh), electrical demand (kW), or both.

- S -

SOP Agreement: A contract entered into by the project sponsor and EPE following the approval of the project sponsor’s final application and EPE’s design of a project-specific measurement and verification (M&V) plan. The SOP Agreement specifies the energy-efficiency measures to be installed, the expected energy savings, the expected total incentive payment, and the agreed-upon M&V approach.

- In cases where standards do not exist, savings credit will be based on improvements relative to energy use prior to participating in the program.

- Federal Register, Vol. 69, No. 30, February 13, 2004, pp. 7336-7338.